MODERN PHYSICS LABORATORY

Experiment: Determination of Specific Charge of the Electron

e/m Ratio Using the Helmholtz Coil and Electron Beam Tube

| Course: PHYS 305 / Modern Physics Lab Experiment No.: ______ | Student Name: ____________________________ Student ID: ____________________________ Lab Partner: ____________________________ | Date: ____________________ Section: ____________________ Instructor: Dr. S Karna |
| --- | --- | --- |

# 1. Introduction and Background

The determination of the specific charge of the electron — defined as the ratio of the electron's charge to its mass (e/m) — is one of the most fundamental experiments in modern atomic physics. This ratio was first accurately measured by J.J. Thomson in 1897, providing crucial evidence for the existence of the electron as a subatomic particle and laying the foundation for the atomic model.

The accepted value of the specific charge of the electron is:

| e/m = 1.758820 × 10¹¹ C/kg | Accepted CODATA Value |
| --- | --- |

In this experiment, we exploit the Lorentz force acting on electrons moving through a magnetic field to curve their trajectories into circular paths. By measuring the radius of the circular orbit as a function of the accelerating voltage and the magnetic field strength, we can calculate e/m with reasonable precision using only classical electromagnetic theory.

## 1.1 Historical Context

J.J. Thomson's 1897 cathode ray tube experiment was revolutionary because it demonstrated that cathode rays were streams of identical, negatively charged particles — what we now call electrons. Thomson's original technique used both electric and magnetic fields to deflect and balance the beam. The e/m method using a circular orbit in a magnetic field was refined in subsequent decades and is today a standard undergraduate laboratory experiment.

The experiment belongs to the broader tradition of precision measurements that define the methodology of modern physics: careful control of experimental variables, systematic error analysis, and comparison with accepted constants.

# 2. Theoretical Framework

## 2.1 Electron Acceleration

Electrons are emitted thermionically from a heated cathode and accelerated through a potential difference V (the accelerating voltage). Assuming the electrons start from rest, conservation of energy gives:

| eV = ½mv² → v = √(2eV/m) | Kinetic energy from accelerating voltage |
| --- | --- |

Here, e is the magnitude of the electron charge, m is the electron mass, and v is the speed of the electrons upon exiting the electron gun. This speed is determined by the accelerating voltage, which is a directly controllable experimental parameter.

## 2.2 Circular Motion in a Magnetic Field

When an electron with velocity v enters a region of uniform magnetic field B directed perpendicular to its velocity, it experiences a Lorentz force:

| F = evB | Lorentz magnetic force |
| --- | --- |

This force is always perpendicular to the velocity vector, providing centripetal acceleration and causing the electron to move in a circular path. Equating the Lorentz force to the centripetal force:

| evB = mv²/r → r = mv/(eB) | Circular orbit condition |
| --- | --- |

where r is the radius of the circular orbit. This relationship is central to the experiment.

## 2.3 Working Equation for e/m

Substituting the expression for v from Section 2.1 into the orbit equation:

| e/m = 2V / (B²r²) | Primary working formula |
| --- | --- |

This is the fundamental working equation of the experiment. By measuring V (accelerating voltage), B (magnetic field strength), and r (orbital radius), we can directly calculate the specific charge of the electron. The quantities V and r are directly measured; B must be calculated from the coil parameters.

## 2.4 The Helmholtz Coil Magnetic Field

The uniform magnetic field is produced by a pair of Helmholtz coils — two identical circular coils separated by a distance equal to their common radius. This configuration produces a highly uniform field near the center. The magnetic field at the center of a Helmholtz coil pair is:

| B = (4/5)^(3/2) × (μ₀nI)/R = 7.155 × 10⁻⁴ × nI/R | Helmholtz coil field |
| --- | --- |

where n is the number of turns per coil, I is the current through the coils (in Amperes), R is the radius of each coil (in meters), and μ₀ = 4π × 10⁻⁷ T·m/A is the permeability of free space. For the standard apparatus used in this lab:

- Coil radius R = 0.150 m

- Number of turns per coil n = 130

- Coil separation d = R = 0.150 m

Substituting these values:

| B = 7.80 × 10⁻⁴ × I (Tesla, with I in Amperes) | Field for standard apparatus |
| --- | --- |

## 2.5 Sources of Systematic Error

Several sources of systematic error must be considered in this experiment:

- Earth's Magnetic Field: The Earth's magnetic field (~50 μT) can distort the electron orbit, particularly when the Helmholtz coil field is weak. The apparatus should be oriented so the coil axis points north-south, or a correction should be applied.

- Non-Uniform Magnetic Field: Although Helmholtz coils produce a highly uniform field at the center, the field decreases toward the edges. If the electron orbit is large relative to the coil radius, this may introduce error.

- Electron Beam Width: The electron beam has finite width, and the measured radius has limited precision. Parallax errors can arise when reading the radius from the scale inside the tube.

- Contact Potential and Voltage Drop: Residual gas in the tube and non-ideal electrode geometry can alter the effective accelerating voltage.

- Relativistic Effects: At the voltages used in this experiment (< 1000 V), the electron speed is much less than the speed of light and relativistic corrections are negligible (< 0.2%).

# 3. Apparatus and Equipment

## 3.1 Equipment List

- e/m apparatus (Helmholtz coil + electron beam tube, e.g., PASCO SE-9638 or equivalent)

- DC power supply for Helmholtz coils (0–2 A, current-regulated)

- High-voltage DC power supply for electron gun (150–300 V)

- Digital multimeter or ammeter (for coil current measurement)

- Digital multimeter or voltmeter (for accelerating voltage measurement)

- Ruler or measuring scale (built into apparatus or external)

- Compass (to align apparatus with magnetic north)

- Lab notebook and data recording sheets

## 3.2 Apparatus Description

The core apparatus consists of a spherical glass vacuum tube containing an electron gun (cathode-anode assembly) and a trace of mercury or neon gas. When energized, the electron beam ionizes the gas, causing it to glow and making the beam visible as a luminous arc. The tube is mounted at the center of the Helmholtz coil pair.

The electron gun assembly contains a heated filament (cathode) that emits electrons thermionically, a cylindrical anode with an aperture to select and accelerate electrons, and focusing electrodes. The accelerating voltage V is applied between cathode and anode.

A millimeter scale is incorporated into the tube or mounted on the coil frame, allowing visual measurement of the beam radius. Some apparatus designs include a mirrored scale to reduce parallax.

| CIRCUIT DIAGRAM SUMMARY High-Voltage Supply (150–300 V DC) → Cathode (−) and Anode (+) of electron gun Low-Voltage Supply (~6.3 V AC) → Filament heating terminals Current-Regulated Supply (0–2 A) → Helmholtz coils (series connection) Ammeters and Voltmeters → Monitor V and I during experiment | SAFETY NOTES ⚠ High Voltage Hazard Never touch the high-voltage terminals or electron gun connections when the supply is on. ⚠ Glass Tube The glass tube is under vacuum and fragile. Handle with care; never strike or drop. ⚠ Mercury Vapor If the tube breaks, do not inhale vapors. Notify instructor immediately. ⚠ Overheating Do not leave the filament energized for extended periods without current in the coils. |
| --- | --- |

# 4. Experimental Procedure

## 4.1 Setup and Alignment

- Use a compass to determine magnetic north. Orient the Helmholtz coil axis parallel to the north-south direction (to minimize Earth's field effect on the circular orbit).

- Inspect the apparatus for any visible damage. Ensure all electrical connections are properly insulated.

- Connect the high-voltage power supply to the electron gun terminals as specified by the apparatus manual. Connect the filament supply to the appropriate terminals.

- Connect the Helmholtz coils in series to the current-regulated DC supply. Place an ammeter in series to monitor coil current.

- Connect a voltmeter across the high-voltage (accelerating voltage) terminals.

- Double-check all connections with the instructor before turning on any power.

## 4.2 Preliminary Observations

- Turn on the filament supply and allow the cathode to warm up for approximately 2 minutes.

- Slowly increase the accelerating voltage to approximately 200 V. A faint glowing beam should become visible in the tube.

- Set the Helmholtz coil current to approximately 1.0 A. Observe the beam curve into a circular arc.

- Adjust V and I until a clear, complete circular ring is visible. Note the orientation of the beam for the given coil current direction. Reverse the current direction if needed to obtain a complete circle rather than a spiral.

- Allow the system to stabilize for 3–5 minutes before beginning data collection.

## 4.3 Data Collection — Method A: Varying Accelerating Voltage

In this method, the coil current (and hence B) is held constant while V is varied.

- Set the Helmholtz coil current to I = 1.50 A and record this value.

- Adjust the accelerating voltage to V = 150 V. Measure and record the diameter of the circular electron beam carefully using the internal scale. Take the average of the left and right radii.

- Repeat the radius measurement at V = 175, 200, 225, 250, 275, and 300 V, recording both V and r for each setting.

- For each measurement, ensure the beam is a complete circle (not an ellipse or helix), indicating the beam is well-aligned with the field.

- Record the room temperature and note any anomalies in the beam appearance.

## 4.4 Data Collection — Method B: Varying Magnetic Field

In this method, the accelerating voltage V is held constant while the coil current I (and hence B) is varied.

- Set the accelerating voltage to V = 200 V and record this value.

- Set the coil current to I = 1.0 A. Measure and record the beam radius r.

- Repeat the radius measurement for I = 1.1, 1.2, 1.3, 1.4, 1.5, 1.6, and 1.7 A.

- Ensure that for each current setting, the beam appears as a circular ring within the tube boundaries.

## 4.5 Shutdown Procedure

- Reduce the accelerating voltage to zero first, then turn off the HV supply.

- Reduce the Helmholtz coil current to zero, then turn off the current supply.

- Turn off the filament supply last.

- Record the final equipment state and note any unusual observations.

# 5. Data Recording Tables

## 5.1 Apparatus Parameters

| Parameter | Symbol | Value | Units |
| --- | --- | --- | --- |
| Coil radius | R | 0.150 | m |
| Turns per coil | n | 130 | — |
| Coil separation | d | 0.150 | m |
| Helmholtz field constant (k = (4/5)^(3/2) × μ₀nI/R per Amp) | k | 7.80 × 10⁻⁴ | T/A |
| Accepted e/m value | (e/m)₀ | 1.759 × 10¹¹ | C/kg |

## 5.2 Method A — Fixed Current, Varying Voltage

Fixed coil current: I = ________ A      Calculated magnetic field: B = ________ T

| Trial | V (Volts) | Left Radius (m) | Right Radius (m) | Mean r (m) | e/m (C/kg) |
| --- | --- | --- | --- | --- | --- |
| 1 | 150 |  |  |  |  |
| 2 | 175 |  |  |  |  |
| 3 | 200 |  |  |  |  |
| 4 | 225 |  |  |  |  |
| 5 | 250 |  |  |  |  |
| 6 | 275 |  |  |  |  |
| 7 | 300 |  |  |  |  |

Mean e/m (Method A): ______________________________     Std. Deviation: ______________________________

## 5.3 Method B — Fixed Voltage, Varying Current

Fixed accelerating voltage: V = ________ V

| Trial | I (A) | B (T) | Left Radius (m) | Right Radius (m) | Mean r (m) | e/m (C/kg) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 1.00 |  |  |  |  |  |
| 2 | 1.10 |  |  |  |  |  |
| 3 | 1.20 |  |  |  |  |  |
| 4 | 1.30 |  |  |  |  |  |
| 5 | 1.40 |  |  |  |  |  |
| 6 | 1.50 |  |  |  |  |  |
| 7 | 1.60 |  |  |  |  |  |
| 8 | 1.70 |  |  |  |  |  |

Mean e/m (Method B): ______________________________     Std. Deviation: ______________________________

# 6. Data Analysis

## 6.1 Calculating e/m from Each Measurement

Apply the working formula to each row of your data tables:

| e/m = 2V / (B²r²) | Apply to every trial |
| --- | --- |

For Method A, B is constant across all rows. For Method B, B must be recalculated for each coil current: B = 7.80 × 10⁻⁴ × I.

## 6.2 Graphical Analysis — Method A

Plot V (y-axis) versus r² (x-axis) for Method A. According to the working formula:

| V = (e/m) × B²/2 × r² | Linear relation: V vs r² |
| --- | --- |

The slope of the best-fit line is slope = (e/m) × B²/2. Extract e/m from the slope:

| e/m = 2 × slope / B² | From graphical slope |
| --- | --- |

Attach your graph (with title, labeled axes, units, best-fit line, and equation) to this report.

## 6.3 Graphical Analysis — Method B

For Method B, rearrange the working formula to identify a suitable linear relationship. One approach: plot 1/r² (y-axis) versus I² (x-axis):

| 1/r² = (e/m × k²)/(2V) × I² | Linear relation: 1/r² vs I² |
| --- | --- |

where k = 7.80 × 10⁻⁴ T/A is the Helmholtz coil constant. From the slope:

| e/m = 2V × slope / k² | From Method B graphical slope |
| --- | --- |

## 6.4 Error Analysis

Random Uncertainty in r

Estimate the uncertainty in the radius measurement Δr (typically ±1 mm for visual observation). The propagated uncertainty in e/m due to Δr alone is:

| Δ(e/m)/(e/m) = 2 × Δr/r | Relative uncertainty from r |
| --- | --- |

Uncertainty in V and I

Similarly, the relative uncertainties in V and I contribute to the total uncertainty. For a digital voltmeter with ±0.5% accuracy and ammeter with ±0.5% accuracy:

| Δ(e/m)/(e/m) = √[(ΔV/V)² + (2ΔB/B)² + (2Δr/r)²] | Combined relative uncertainty |
| --- | --- |

Calculate the absolute uncertainty Δ(e/m) for at least three representative trials and report these as error bars on your graphs.

Percent Error

Compare your mean experimental e/m to the accepted value:

| % Error = ¦e/m_exp − e/m_acc¦ / e/m_acc × 100% | Percent error |
| --- | --- |

# 7. Results Summary Table

| Method | Mean e/m (C/kg) | Std. Dev. (C/kg) | % Error | Notes |
| --- | --- | --- | --- | --- |
| Method A (V varied) |  |  |  |  |
| Method B (I varied) |  |  |  |  |
| Graphical (Method A) |  |  |  |  |
| Graphical (Method B) |  |  |  |  |
| Combined / Weighted Mean |  |  |  |  |

# 8. Discussion Questions

Answer each of the following in complete sentences (4–6 lines each):

## 8.1

How does your experimentally determined value of e/m compare with the accepted value? Is the discrepancy within your estimated experimental uncertainty? If not, suggest the most likely source(s) of systematic error.

## 8.2

Explain qualitatively what would happen to the radius of the electron orbit if (a) the accelerating voltage were doubled while B remained constant, and (b) the magnetic field were halved while V remained constant. Confirm your answers with the formula.

## 8.3

Why is it important to orient the Helmholtz coil axis parallel to the Earth's magnetic field direction? What would happen if the apparatus were oriented with the coil axis perpendicular to the Earth's field? Describe the expected effect on the beam shape.

## 8.4

The electrons in this experiment travel at a speed much less than the speed of light. Calculate the electron speed (as a fraction of c) for V = 200 V and verify that relativistic corrections are negligible. At what accelerating voltage would a 1% relativistic correction become necessary?

## 8.5

This experiment measures e/m rather than e and m separately. What additional measurement or experiment would be needed to determine e and m independently? (Hint: Consider Millikan's oil drop experiment.)

## 8.6

Analyze the V vs r² graph from Method A. Is the relationship linear as predicted? Comment on any deviations, particularly at small or large values of r, and explain possible physical reasons.

# 9. Conclusion

Write a concise conclusion (8–12 lines) summarizing:

- The objective of the experiment and the method used

- Your principal result (mean e/m with uncertainty)

- Comparison with the accepted value and percent error

- The main sources of error and their relative importance

- The physical significance of the specific charge ratio in atomic physics

# Appendix A: Key Formulas Reference

| Formula | Description | Variables |
| --- | --- | --- |
| eV = ½mv² | Energy conservation in electron gun | e = charge, V = voltage, m = mass, v = speed |
| r = mv/(eB) | Orbital radius in magnetic field | B = field, r = radius |
| e/m = 2V/(B²r²) | Working formula for specific charge | Primary experimental relation |
| B = 7.80×10⁻⁴ · I | Helmholtz coil field (this apparatus) | I = coil current in Amperes |
| Δ(e/m)/(e/m) = √[(ΔV/V)² + 4(ΔI/I)² + 4(Δr/r)²] | Combined relative uncertainty | Δ = absolute uncertainty |

# Appendix B: Physical Constants

| Constant | Symbol | Value | Units |
| --- | --- | --- | --- |
| Elementary charge | e | 1.60218 × 10⁻¹⁹ | C |
| Electron rest mass | mₑ | 9.10938 × 10⁻³¹ | kg |
| Specific charge (e/mₑ) | e/mₑ | 1.75882 × 10¹¹ | C/kg |
| Permeability of free space | μ₀ | 4π × 10⁻⁷ | T·m/A |
| Speed of light | c | 2.99792 × 10⁸ | m/s |

# Appendix C: Pre-Lab Questions

Complete before arriving at the laboratory:

- Derive the working formula e/m = 2V/(B²r²) starting from Newton's second law and the work-energy theorem. Show all steps clearly.

- Calculate the expected radius of the electron orbit for V = 200 V, I = 1.5 A, using the Helmholtz coil constant k = 7.80 × 10⁻⁴ T/A and the accepted value of e/m.

- What is the approximate speed of an electron accelerated through 200 V? Express your answer in m/s and as a fraction of the speed of light c.

- If you were to observe a helix (spiral) instead of a circle when the apparatus is turned on, what adjustment would you make? Explain why.